## Town of Phillipsburg								        OFFICE OF INSPECTIONS

675 CORLISS AVENUE

PHILLIPSBURG, NJ  08865

Phone: 908-454-5500                                                                                             		     Fax:     908-213-9214

Town Website:www.phillipsburgnj.org

Office of Inspections

Re-roofing  Permit Application

Applicant: This questionnaire must be filled out and accompany your application for a Construction Permit. Please read the following Mandatory requirements and answer the questions listed below:

New roof coverings shall not be installed without first removing the existing roof coverings when any of the following conditions occur:

- When the existing roof or roof covering is water soaked, dry rotted, or has deteriorated to the point that the existing roof or roof coverings is not acceptable as a base for additional roofing.

- When the existing roof covering is wood shake, slate, clay, cement, or asbestos cement tile.

- When the existing roof covering has two or more applications of any type of roof coverings.

- Existing vent flashing, metal drip edging, drain outlets, chimney flashing, valley flashing, and metal counter flashing shall not be reused when rusted, damaged or deteriorated.  Flashing and drip edge must be installed where required if none exists.

Questions:

- Location of roof(s) to be installed: (Check appropriate answers).

Main Roof ______ Front Porch Roof ______ Rear or Side Porch Roof _______   Garage______    Other _______

- Are you completely removing all existing roof coverings?

Yes _______     No _______  (If no, check with the Construction Official before

you start)

- Is new plywood roof sheathing being installed?

Yes _______  No ________ Thickness of sheathing ____________

- Note the type of new roof covering to be installed on the technical section of your building permit.

__________________________________

Signature of Contractor/Agent/Homeowner